## K2 Door Schedule
Reference | Proposed | Room name | Proposed | Special Information | Type | Notes | Fire rating | Signage | Access Control | Hold Open Device | Vision Panel
Administration Block
D_G_01 | G_31 | Escape Stairs | Final Exit |  | 4
| G_30 |  | Escape Stair | Gas Cut-Off
D_G_02 | G_01 | Main Entrance | Main Entrance |  | 0
D_G_03 | G_02 | Entrance Lobby | Entrance Lobby |  | 0
D_G_04 | G_26 | Accessible WC | Male WC |  | 3
D_G_05 | G_27 | Utility Room | Laundry |  | 3
D_G_06 | G_24 | Accessible Shower/WC | Accessible Shower & WC |  | 3
D_G_07 | G_29 | Lobby | Lobby |  | 1
D_G_08 | G_28 | Production Area | Corridor |  | 1 |  | FD30S | FDKC
D_G_09 | G_25 | Accessible WC | Female WC |  | 3
D_G_10 | G_23 | Manager's/Security Room | Welfare Room |  | 1
D_G_11 | G_22 | Exhibition Space | Not Sure |  | 1
D_G_12 | G_03 | Exhibition Space | Corridor |  | 5 |  | FD30S | FDKC
D_G_13 | G_04 | Research/Workshop | Meeting Room 1 |  | 9
D_G_14 | G_05 | Server | Store |  | 3
D_G_15 | G_06 | Meeting 2 | Meeting Room 4 |  | 6
D_G_16 | G_07 | Meeting 3 | Meeting Room 5 |  | 6
D_G_17 | G_12 | Male WC | Male WC Lobby |  | 3
D_G_18 |  | Corridor |  |  | 5
D_G_19 | G_09 | Lobby to Production | Lobby |  | 1
D_G_20 | G_08 | Production Area | Production Area |  | 1 |  | FD30S | FDKC
D_G_21 | G_11 | Accessible WC | Female WC |  | 3
D_G_22 | G_13 | Male WC | Male WC |  | 3
D_G_23 | G_14 | Corridor | Corridor |  | 5
D_G_24 | G_15 | Servery/Food Preparation | Brew Room |  | 1
D_G_25 | G_10 | Research/Workshop | Meeting Room 2 |  | 9
D_G_26 | G_16 | Research/Workshop | Meeting Room 3 |  | 9
D_G_27 | G_17 | Furniture / Exhibition Store | Store |  | 9
D_G_28 | G_18 | Plant Room | Plant Room |  | 9 |  | FD30S | FDKC
D_G_29 | G_19 | Protected Lobby | Lobby |  | 1 |  | FD30S | FDKC
D_G_30 | G_20 | Staircase | Escape Stair |  | 1 |  | FD30S | FDKC
D_G_31 | G_21 | External Escape Door | Final Exit |  | 4
D_G_32 |  | Omit |  |  | 0
D_G_33 |  | Omit |  |  | 0
Ground Floor Mezzanine
D_GM-01 | G_40 | Link |  |  | 4
D_GM-02 | G_32 | Store | Store |  | 2
D_GM-03 | G_41 | Store | Corridor |  | 2
D_GM-04 |  | Omit |  |  | 0
D_GM-05 | G_33 | Lecture Theatre | Lecture Theatre |  | 4
D_GM-06 | G_35 | Meeting Room 6 | Meeting Room 6 |  | 4
D_GM-07 | G_36 | Cloak Room | Cloak Room |  | 4
D_GM-08 | G_37 | Cloak Room | Incoming Electricity | Electricity Cut-Off | 4
D_GM-09 | G_39 | Escape Stair | Escape Stair |  | 1 |  | FD30S | FDKC
D_GM-10 |  | Corridor |  |  | 2 |  | FD30S | FDKC
Ground Floor Extension
D_G_01 |  | Escape |  |  | 3
D_G_02 |  | Lobby |  |  | 5
D_G_03 |  | Lobby |  |  | 4 |  | FD30S | FDKC
D_G_04 |  | Corridor |  |  | 6 |  | FD30S | FDKC
D_G_05 |  | Corridor |  |  | 6 |  | FD30S | FDKC
D_G_06 |  | Corridor |  |  | 6 |  | FD30S | FDKC
D_G_07 |  | Staff canteen/existing |  |  | 1 |  | FD30S | FDKC
D_G_08 |  | Escape |  |  | 1 |  | FD30S | FDKC
D_G_09 |  | Escape |  |  | 3
D_G_10 |  | Escape |  |  | 7
D_G_11 |  | Kitchen |  |  | 1 |  | FD60S | FDKC
D_G_12 |  | Escape |  |  | 3
D_G_13 |  | Staff WC |  |  | 2
D_G_14 |  | Staff WC |  |  | 2
D_G_15 |  | Private Dining |  |  | 1 |  | FD60S | FDKC
D_G_16 |  | Store |  |  | 2 |  | FD60S | FDKC
D_G_17 |  | Male WC |  |  | 2
D_G_18 |  | Kitchen |  |  | 6 |  | FD60S | FDKC
D_G_19 |  | Female WC |  |  | 2
D_G_20 |  | Female WC |  |  | 1
D_G_21 |  | Accessible WC |  |  | 8
D_G_22 |  | Male WC |  |  | 1
D_G_23 |  | Male WC |  |  | 2
D_G_24 |  | Plant/Riser |  |  | 6 | No vision panel | FD605
D_G_25 |  | Female WC |  |  | 2
D_G_26 |  | Female WC |  |  | 1
D_G_27 |  | Male WC |  |  | 1
D_G_28 |  | Private Dining |  |  | 4 |  | FD30S | FDKC
D_G_29 |  | Private Dining |  |  | 9
D_G_30 |  | Canteen |  |  | 9 | 2175 mm wide
D_G_31 |  | Canteen |  |  | 9 | 2175 mm wide
Production Block
D_G_34 |  | Production Area |  |  | 1 |  | FD30S | FDKC
D_G_35 |  | Small Delivery/receiving |  |  | 1
D_G_36 |  | Collection External Entrance |  |  | 4
D_G_37 |  | Collection Point |  |  | 1
D_G_38 |  | Stores Office |  |  | 1
D_G_39 |  | Future Expansion |  |  | 1
D_G_40 |  | Product Returns |  |  | 1
D_G_41 |  | Protected Lobby |  |  | 1 |  | FD30S | FDKC
D_G_42 |  | Escape/Accomodation Stairs |  |  | 1 |  | FD30S | FDKC |  | Yes
D_G_43 |  | External Staff Entrance |  |  | 7
D_G_44 |  | Protected Lobby |  |  | 2 |  | FD30S | FDKC |  | Yes
D_G_45 |  | Production Area |  |  | 2 |  | FD30S | FDKC
D_G_46 |  | Female WC Lobby |  |  | 1 |  | FD30S | FDKC
D_G_47 |  | Female WC |  |  | 3 |  | FD30S | FDKC
D_G_48 |  | Female Lockers/Changing |  |  | 3 |  | FD30S | FDKC
D_G_49 |  | Female Showers |  |  | 3
D_G_50 |  | Male Showers |  |  | 3
D_G_51 |  | Accessible WC |  |  | 3
D_G_52 |  | Male WC |  |  | 3
D_G_53 |  | Lobby |  |  | 1 |  | FD30S | FDKC
D_G_54 |  | Male Lockers |  |  | 3 |  | FD30S | FDKC
D_G_55 |  | Lobby |  |  | 1 |  | FD30S | FDKC
D_G_56 |  | Production Area |  |  | 1 |  | FD30S | FDKC
D_G_57 |  | Staff Dining |  |  | 1
D_G_58 |  | Corridor |  |  | 8 |  | FD30S | FDKC
D_G_59 |  | Production Area |  |  | 2 |  | FD30S | FDKC
D_G_60 |  | Tool Shed |  |  | 2 |  | FD30S | FDKC
D_G_61 |  | Protected Lobby |  |  | 2 |  | FD30S | FDKC
D_G_62 |  | Escape/Accomodation Stairs |  |  | 1 |  | Fd30S | FDKC
D_G_63 |  | External Staff Exit |  |  | 7
D_G_64 |  | Omit |  |  | 0
D_G_65 |  | Omit |  |  | 0
Administration Block
D1_F_001 |  | Female WC Lobby |  |  | 1
D1_F_002 |  | Male WC Lobby |  |  | 1
D1_F_003 |  | Male WC |  |  | 3
D1_F_004 |  | Escape Stairs |  |  | 1 |  | FD30S | FDKC
D1_F_005 |  | Staff Room/Dining |  |  | 1
D1_F_006 |  | Corridor |  |  | 1
D1_F_007 |  | Staff Kitchen |  |  | 1
D1_F_008 |  | Informal Seating |  |  | 1 |  | FD30S | FDKC
D1_F_009 |  | Financial Controller |  |  | 1
D1_F_010 |  | Server |  |  | 3
D1_F_011 |  | Meeting Room |  |  | 6
D1_F_012 |  | Financial Controller |  |  | 1
D1_F_013 |  | Finance Admin |  |  | 1
D1_F_014 |  | Store |  |  | 3
D1_F_015 |  | Accessible WC |  |  | 3
D1_F_016 |  | Accessible WC |  |  | 3
D1_F_017 |  | Marketing / Sales |  |  | 1
D1_F_018 |  | Sales Director |  |  | 6
D1_F_019 |  | Meeting/Sales Director |  |  | 0
D1_F_020 |  | Meeting Room |  |  | 6
D1_F_021 |  | IT Manager |  |  | 6
D1_F_022 |  | Marketing Manager |  |  | 6
D1_F_023 |  | Photocopy Centre |  |  | 1
D1_F_024 |  | Stairs |  |  | 1 |  | FD30S | FDKC
D1_F_044 |  | Female WC |  |  | 3
Production Block
D1_F030 |  | Future Expansion |  |  | 1
D1_F031 |  | Technical Workshop |  |  | 1
D1_F032 |  | Escape Stairs |  |  | 1 |  | FD30S | FDKC
D1_F033 |  | Technical Support/Purchasing |  |  | 1 |  | FD30S | FDKC
D1_F034 |  | Manufacturing Operations Manager |  |  | 1 |  | FD30S | FDKC
D1_F035 |  | Manager's Office |  |  | 1
D1_F036 |  | Corridor |  |  | 1
D1_F037 |  | Meeting Room |  |  | 1
D1_F038 |  | Manufacturing /Training |  |  | 1
D1_F039 |  | Tea Point |  |  | 1
D1_F040 |  | Cupboard |  |  | 9
D1_F041 |  | Store |  |  | 3
D1_F042 |  | Escape/Accomodation Stairs |  |  | 1 |  | FD30S | FDKC
D1_F043 |  | Store |  |  | 3
First Floor Extension
D-F_01 |  | Link |  |  | 4 |  | FD30S | FDKC
D-F_02 |  | Corridor |  |  | 6 |  | FD30S | FDKC
D-F_03 |  | Escape |  |  | 1 |  | FD30S | FDKC
D-F_04 |  | Office |  |  | 4 |  | FD30S | FDKC
D-F_05 |  | Omit |  |  | 0
D-F_06 |  | Office |  |  | 6
D-F_07 |  | Male WC |  |  | 1
D-F_08 |  | Male WC |  |  | 2
D-F_09 |  | Female WC |  |  | 1
D-F_10 |  | Female WC |  |  | 2
D-F_11 |  | Plant/Riser |  |  | 6 |  | FD60S | FDKC
D-F_12 |  | Male WC |  |  | 2
D-F_13 |  | Male WC |  |  | 1
D-F_14 |  | Accessible WC |  |  | 8
D-F_15 |  | Female WC |  |  | 1
D-F_16 |  | Female WC |  |  | 2
D-F_17 |  | Board Room |  |  | 5
D-F_18 |  | Board Room |  |  | 10
First Floor Mezzanine
D_FM-01 |  | Link |  |  | 1 |  | FD30S | FDKC
D_FM-02 |  | Meeting Room |  |  | 1
D_FM-03 |  | Store |  |  | 2
D_FM-04 |  | Office |  |  | 1
D_FM-05 |  | Office |  |  | 1
D_FM-06 |  | Office |  |  | 1
D_FM-07 |  | Office |  |  | 1
D_FM-08 |  | Omit |  |  | 0
D_FM-09 |  | Store/Portable Ramp |  |  | 2
D_FM-10 |  | Office |  |  | 1
D_FM-11 |  | Server |  |  | 1 |  | FD30S | FDKC
D_FM-12 |  | Corridor |  |  | 4 |  | FD30S | FDKC
D_FM-13 |  | Escape |  |  | 1 |  | FD30S | FDKC
D_FM-14 |  | Office |  |  | 1

## Door Schedule
Reference | Label | Room name | Type | Signage | Access control | Notes | Electric lock | Vision panel
| 1-FE | Meeting Room Exit Lobby | Final exit
| 2-30S | Marketing Stairs | FD30S
| 3-30S | Meeting Room Exit Lobby | FD30S
| 4 | VA Plant Room
5

## Detection Zones
| ZFP zone - 20 chars, device - 23 chars |  | XFP zone - 14 chars, device 24 chars
Detection Zone Number | Current zone name (Dec 2016) |  | Characters (Max 20) | Zone # | Proposed zone name | Characters (Max 20)
1 | MARKETING STAIRS |  | 18 | 1 | Stair A (Marketing) | 19
2 | PLANT ROOM GROUND FL |  | 16 | 2 | Meeting Rooms 1-5 | 17
3 | MEETING ROOMS 1 TO 5 |  | 20 | 3 | Reception Area | 14
4 | KITCHEN MEET ROOMS |  | 20 | 4 | Lift | 4
5 | RECEPTION AREA |  | 17 | 5 | Stair C (Utility) | 17
6 | UTILITY ROOM |  | 14 | 6 | Seminar Area | 12
7 | STAIRS BEHIND LIFT |  | 18 | 7 | Stair D (Seminar) | 17
8 | SEMINAR & TRAINING | XFP | 19 | 8 | Visitor Area | 14
9 | ELECTRICTY ROOM | XFP | 19 | 9 | Kitchen | 7
10 | SEMINAR STAIRS | XFP | 20 | 10 | Canteen Area | 12
11 | WALL VOID MEETINGS |  | 20 | 11 | StairE Canteen | 14
12 | WALL VOID SEMINARS | XFP | 20 | 12 | Boardroom Area | 14
13 | RETURNS DEPARTMENT |  | 16 | 13 | Ext 1st Floor | 13
14 | STAFF ENTRANCE STAIR |  | 20 | 14 | Big Office | 10
15 | RETURNS STORE AREA |  | 17 | 15 | HR and Exports | 14
16 | GOODS IN & PACKING |  | 19 | 16 | Returns Area | 12
17 | RAW COMPONENTS STORE |  | 20 | 17 | Warehouse Room 1 | 16
18 | DINING ROOMS | XFP | 20 | 18 | Warehouse Room 2 | 16
19 | MAIN KITCHEN | XFP | 11 | 19 | Stair F (Technical) | 19
20 | PLANT ROOM KITCHEN | XFP | 20 | 20 | Production Staff Area | 21
21 | DINING ROOM STAIRS | XFP | 20 | 21 | Production Room | 15
22 | STAFFAREA & LOCKERS |  | 20 | 22 | Rear Production Room | 20
23 | STAFF KITCHEN |  | 14 | 23 | Stair G (Purchasing) | 20
24 | BACK STAFF ENT STAIR |  | 20 | 24 | Drivers' Cabin | 11
25 | PRODUCTION AREA |  | 18 | 25 | Warehouse Room 6 | 16
26 | REAR PRODUCTION AREA |  | 19 | 26 | Engineering Room | 16
27 | DRIVERS CABIN |  | 15 | 27 | Warehouse Room 5 | 16
28 | BACK STAFF ENT AREA |  | 20 | 28 | Warehouse Room 4 | 16
29 | TECHNICAL TOOL ROOM |  | 15 | 29 | Warehouse Room 3 | 16
30 | BAY 1 WAREHOUSE |  | 20 | 30 | Marketing and Sales | 19
31 | BAY 2 WAREHOUSE |  | 20 | 31 | Finance | 7
32 | BAY 3 WAREHOUSE |  | 20 | 32 | Reception Mezzanine | 19
33 | BAY 4 WAREHOUSE |  | 20 | 33 | Production Offices | 19
34 | 1ST FLOOR OFFICES W |  | 20 | 34 | Production Roof Void | 19
35 | 1ST FLR FRONT SERVER |  | 20 | 35 | Rear Prod Roof Void | 19
36 | 1ST FLOOR SEATING |  | 20
37 | 1ST FLOOR KITCHEN |  | 20
38 | 1ST FLOOR OFFICES E | XFP | 15
39 | 1ST FLOOR EXTENSION | XFP | 20
40 | 1ST FLOOR EXT PLANT | XFP | 20
41 | 1ST PROD OFFICES |  | 18
42 | 1ST FLR REAR SERVER |  | 17
43 | PRODUCTION ROOF VOID |  | 20
44 | REAR PROD ROOF VOID |  | 18
45 |  | XFP | 19
46 |  |  | 18
47 |  |  | 18
48 |  | XFP | 17

## ZFP XFP Devices & Zones
ZFP APOLLO FRONT SERVER-1 LOCATED IN MARKETING SERVER ROOM | [6 empty] | 23 Characters | Chrs |  | 20 Characters | MCP Ref
SERVER | LOOP ID | Device address | Device Type | Device Name | Zone # | Current Zone Name | Proposed Device Name |  | Zone # | Proposed Zone Name
1 | 1 | 1 | XP95 Optical | CORRIDOR NEAR MEET ROOM 4 | 2 | MEETING ROOMS 1 TO 5 | Corridor by Meet Room 4 | 23 | 02 | Meeting Rooms 1-5
1 | 1 | 2 | XP95 Optical | MEETING ROOM 5 | 2 | MEETING ROOMS 1 TO 5 | Meeting Room 5 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 3 | XP95 Optical | BEHIND MEETING RM 5 | 2 | WALL VOID MEETINGS | Wall Void Meet Room 5 | 21 | 02 | Meeting Rooms 1-5
1 | 1 | 4 | XP95 Optical | MEETING ROOM 1 | 3 | MEETING ROOMS 1 TO 5 | Meeting Room 1 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 5 | XP95 Optical | STORE RM BY MEET RM 1 | 3 | MEETING ROOMS 1 TO 5 | Furniture Store | 15 | 02 | Meeting Rooms 1-5
1 | 1 | 6 | XP95 IO Unit | STORE ROOM | 3 | MEETING ROOMS 1 TO 5 | Furniture Store | 15 | 02 | Meeting Rooms 1-5
1 | 1 | 7 | XP95 Optical | RECEPTION | 5 | RECEPTION AREA | Reception | 9 | 03 | Reception Area
1 | 1 | 8 | XP95 Optical | BEHIND RECEPTION | 5 | RECEPTION AREA | Behind Reception | 16 | 03 | Reception Area
1 | 1 | 9 | XP95 Optical | RECEPTION BY LIFT | 5 | RECEPTION AREA | Reception by Lift | 17 | 03 | Reception Area
1 | 1 | 10 | XP95 Callpoint | RECEPTION ENTRANCE | 5 | RECEPTION AREA | Entrance Lobby | 14 | 03 | Reception Area | 1/1/10
1 | 1 | 11 | XP95 Optical | CLEANERS STORE | 5 | RECEPTION AREA | Reception Store | 15 | 03 | Reception Area
1 | 1 | 12 | XP95 Optical | FEMALE WC | 5 | RECEPTION AREA | Female WC | 9 | 03 | Reception Area
1 | 1 | 13 | XP95 Optical | CORRIDOR BY UTILITY RM | 5 | RECEPTION AREA | Corridor by Utility | 19 | 03 | Reception Area
1 | 1 | 14 | XP95 Optical | MALE WC | 5 | RECEPTION AREA | Male WC | 7 | 03 | Reception Area
1 | 1 | 15 | XP95 Callpoint | EXIT BY UTILITY ROOM | 5 | RECEPTION AREA | Corridor by Utility | 21 | 03 | Reception Area | 1/1/10
1 | 1 | 16 | XP95 IO Unit | LOBBY TO MAIN STORES | 7 | STAIRS BEHIND LIFT | Lobby to Utility Stairs | 23 | 05 | Stair C (Utility)
1 | 1 | 17 | XP95 Optical | LOBBY TO MAIN STORES | 5 | RECEPTION AREA | Lobby to Utility Stairs | 23 | 03 | Reception Area
|  | 18 | Not Fitted
1 | 1 | 19 | XP95 Heat | UTILITY ROOM |  | UTILITY ROOM | Utility Room | 12 | 03 | Reception Area
1 | 1 | 20 | XP95 Heat | DISABLED WC SHOWER |  | RECEPTON AREA | Accessible WC Shower | 20 | 03 | Reception Area
1 | 1 | 21 | XP95 Callpoint | UTILITY ROOM EXIT |  | DINING ROOMS | Final Exit 2 | 12 | 05 | Stair C (Utility) | 1/1/21
1 | 1 | 22 | XP95 Optical | MEETING ROOM 4 |  | MEETING ROOMS 1 TO 5 | Meeting Room 4 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 23 | XP95 Optical | LOBBY TO GOODS IN |  | MEETING ROOMS 1 TO 5 | Lobby to Goods In | 17 | 02 | Meeting Rooms 1-5
1 | 1 | 24 | XP95 IO Unit | LOBBY TO GOODS IN |  | MEETING ROOMS 1 TO 5 | Lobby to Goods In | 17 | 02 | Meeting Rooms 1-5
1 | 1 | 25 | Discovery Sounder Beacon | FEMALE WC |  | MEETING ROOMS 1 TO 5 | Female WC | 9 | 02 | Meeting Rooms 1-5
1 | 1 | 26 | XP95 Optical | CORRIDOR BY WCS |  | MEETING ROOMS 1 TO 5 | Corridor by WCs | 15 | 02 | Meeting Rooms 1-5
1 | 1 | 27 | XP95 Optical | MEETING ROOM 2 |  | MEETING ROOMS 1 TO 5 | Meeting Room 2 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 28 | Discovery Sounder Beacon | MALE WC |  | MEETING ROOMS 1 TO 5 | Male WC | 7 | 02 | Meeting Rooms 1-5
1 | 1 | 29 | XP95 Heat | SERVERY / FOOD PREP |  | KITCHEN MEET ROOMS | Brew Room | 9 | 02 | Meeting Rooms 1-5
1 | 1 | 30 | XP95 Callpoint | SERVERY EXIT |  | KITCHEN MEET ROOMS | Brew Room | 9 | 02 | Meeting Rooms 1-5 | 1/1/30
1 | 1 | 31 | XP95 Optical | CORRIDOR BY MEETING RM 3 |  | MEETING ROOMS 1 TO 5 | Corridor by Meet Room 3 | 23 | 02 | Meeting Rooms 1-5
1 | 1 | 32 | XP95 Optical | FURNITURE STORE |  | MEETING ROOMS 1 TO 5 | Furniture Store | 16 | 02 | Meeting Rooms 1-5
1 | 1 | 33 | XP95 Optical | MEETING ROOM 3 |  | MEETING ROOMS 1 TO 5 | Meeting Room 3 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 34 | XP95 Callpoint | PLANT ROOM EXIT |  | PLANT ROOM GROUND FLOOR | VA Room | 7 | 02 | Meeting Rooms 1-5 | 1/1/34
1 | 1 | 35 | XP95 Optical | EXIT LOBBY BY PLANT RM |  | MEETING ROOMS 1 TO 5 | Fire Exit A Lobby | 16 | 02 | Meeting Rooms 1-5
1 | 1 | 36 | XP95 Callpoint | EXIT LOBBY BY PLANT RM |  | MEETING ROOMS 1 TO 5 | Fire Exit A Lobby | 16 | 02 | Meeting Rooms 1-5
1 | 1 | 37 | XP95 Optical | GROUND FLOOR |  | MARKETING STAIRS | Ground Floor | 22 | 01 | Stair A (Marketing)
1 | 1 | 38 | XP95 Optical | BEHIND MAKE WC |  | WALL VOID MEETINGS | Male WC Wall Void | 17 | 02 | Meeting Rooms 1-5
1 | 1 | 39 | XP95 Optical | BEHIND PLANT ROOM |  | WALL VOID MEETINGS | VA Plant Room Wall Void | 23 | 02 | Meeting Rooms 1-5
1 | 1 | 40 | XP95 Optical | PLANT ROOM |  | PLANT ROOM GROUND FL | VA Plant Room | 13 | 02 | Meeting Rooms 1-5
1 | 1 | 41 | XP95 IO Unit | MEETING ROOM 1 |  | MEETING ROOMS 1 TO 5 | Meeting Room 1 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 42 | XP95 IO Unit | GROUND FLOOR |  | STAIRS BEHIND LIFT | Final Exit | 10 | 05 | Stair C (Utility)
1 | 1 | 43 | XP95 IO Unit | MEETING ROOM 2 |  | MEETING ROOMS 1 TO 5 | Meeting Room 2 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 44 | XP95 IO Unit | MEETING ROOM 3 |  | MEETING ROOMS 1 TO 5 | Meeting Room 3 | 14 | 02 | Meeting Rooms 1-5
1 | 1 | 45 | XP95 IO Unit | CORRIDOR BY PLANT RM |  | MEETING ROOMS 1 TO 5 | Corridor by VA Room | 19 | 02 | Meeting Rooms 1-5
1 | 1 | 46 | XP95 Optical | MALE WC |  | MEETING ROOMS 1 TO 5 | Male WC | 7 | 02 | Meeting Rooms 1-5
1 | 1 | 47 | XP95 Optical | FEMALE WC |  | MEETING ROOMS 1 TO 5 | Female WC | 9 | 02 | Meeting Rooms 1-5
1 | 1 | 48 | Discovery Sounder Beacon | FEMALE WC |  | RECEPTON AREA | Female WC | 9 | 03 | Reception Area
1 | 1 | 49 | Discovery Sounder Beacon | MALE WC |  | RECEPTON AREA | Male WC | 7 | 03 | Reception Area
1 | 1 | 50 | Discovery Sounder Beacon | DISABLED WC SHOWER |  | RECEPTON AREA | Accessible Shower WC | 20 | 03 | Reception Area
|  | 51 TO 114 | Missing
1 | 1 | 115 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 116 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 117 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 118 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 119 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 120 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 121 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 122 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 123 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 124 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 125 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 1 | 126 | XP95 IO Unit | VA RACK |  | PLANT ROOM GROUND FL | VA Interface | 12 | 02 | Meeting Rooms 1-5
1 | 2 | 1 | XP95 Optical | SERVER ROOM |  | 1ST FLR FRONT SERVER | Server Room 1 | 13 | 27 | Finance
1 | 2 | 2 | XP95 Optical | MEETING ROOM |  | 1ST FLOOR OFFICES W | Meeting Room 7 | 14 | 27 | Finance
1 | 2 | 3 | XP95 Optical | MEETING ROOM VOID |  | 1ST FLOOR OFFICES W | Meeting Room 7 Void | 21 | 27 | Finance
1 | 2 | 4 | XP95 Optical | STORE |  | 1ST FLOOR OFFICES W | Front Boiler | 12 | 27 | Finance
1 | 2 | 5 | Discovery Sounder Beacon | MALE WC |  | 1ST FLOOR OFFICES W | Male WC | 7 | 27 | Finance
1 | 2 | 6 | Discovery Sounder Beacon | FEMALE WC |  | 1ST FLOOR OFFICES W | Female WC | 9 | 27 | Finance
1 | 2 | 7 | XP95 Optical | SMALL DELIVERIES EXIT |  | 1ST FLOOR OFFICES W | SMALL DELIVERIES EXIT |  |  | 1ST FLOOR OFFICES W
1 | 2 | 8 | XP95 Optical | SALES DIRECTOR VOID |  | 1ST FLOOR OFFICES W | Sale Director Wall Void | 23 | 26 | Marketing and Sales
1 | 2 | 9 | XP95 Optical | IT MANAGER VOID |  | 1ST FLOOR OFFICES W | IT Manager Wall Void | 20 | 26 | Marketing and Sales
1 | 2 | 10 | XP95 Optical | IT MANAGER |  | 1ST FLOOR OFFICES W | IT Manager | 10 | 26 | Marketing and Sales
1 | 2 | 11 | XP95 Optical | MARKETING AND SALES VOID |  | 1ST FLOOR OFFICES W | Sales Office Roof Void | 21 | 26 | Marketing and Sales
1 | 2 | 12 | XP95 Optical | 1ST FLOOR BY LIFT |  | STAFF KITCHEN | By Lift | 7 | 28 | Reception Mezzanine
1 | 2 | 13 | XP95 Callpoint | GROUND FLOOR EXIT |  | RAW COMPONENTS STORE | GROUND FLOOR EXIT |  |  | RAW COMPONENTS STORE | 1/2/13?
1 | 2 | 14 | XP95 Optical | MARKETING MANAGER |  | 1ST FLOOR OFFICES W | Marketing Manager | 17 | 26 | Marketing and Sales
1 | 2 | 15 | XP95 Optical | MARKETING AND SALES VOID |  | 1ST FLOOR OFFICES W | Sales Office Roof Void | 21 | 26 | Marketing and Sales
1 | 2 | 16 | XP95 Optical | MARKETING MANAGER VOID |  | 1ST FLOOR OFFICES W | Sales Office Roof Void | 21 | 26 | Marketing and Sales
1 | 2 | 17 | XP95 Optical | MARKETING STORE VOID |  | 1ST FLOOR OFFICES W | Marketing Store Void | 20 | 26 | Marketing and Sales
1 | 2 | 18 | XP95 Optical | MARKETING STORE VOID |  | 1ST FLOOR OFFICES W | Marketing Store Void | 20 | 26 | Marketing and Sales
1 | 2 | 19 | XP95 Optical | 1ST FLOOR LANDING VOID |  | MARKETING STAIRS | Roof Void | 9 | 1 | Stair A (Marketing)
1 | 2 | 20 | XP95 Optical | 1ST FLOOR LANDING |  | MARKETING STAIRS | Landing | 7 | 1 | Stair A (Marketing)
1 | 2 | 21 | XP95 Callpoint | MARKETING AND SALES EXIT |  | 1ST FLOOR OFFICES W | Sales Office | 12 | 26 | Marketing and Sales | 1/2/21
1 | 2 | 22 | XP95 Optical | MARKETING AND SALES |  | 1ST FLOOR OFFICES W | Sales Office | 12 | 26 | Marketing and Sales
1 | 2 | 23 | XP95 Optical | MARKETING AND SALES |  | 1ST FLOOR OFFICES W | Sales Office | 12 | 26 | Marketing and Sales
1 | 2 | 24 | XP95 Optical | ACCOUNTS OFFICE |  | 1ST FLOOR OFFICES W | Finance Office | 14 | 27 | Finance
1 | 2 | 25 | XP95 Optical | ACCOUNTS OFFICE VOID |  | 1ST FLOOR OFFICES W | Finance Ofice Roof Void | 23 | 27 | Finance
1 | 2 | 26 | XP95 Optical | CORRIDOR BY FINANCE |  | 1ST FLOOR OFFICES W | Corridor | 8 | 27 | Finance
1 | 2 | 27 | XP95 Optical | CORRIDOR BY FINANCE VOID |  | 1ST FLOOR OFFICES W | Corridor Roof Void | 18 | 27 | Finance
1 | 2 | 28 | XP95 Optical | FINANCE DIRECTOR OFFICE |  | 1ST FLOOR OFFICES W | Financial Controller | 20 | 27 | Finance
1 | 2 | 29 | XP95 Optical | FINANCE DIRECTOR VOID |  | 1ST FLOOR OFFICES W | Fin Control Roof Void | 21 | 27 | Finance
1 | 2 | 30 | XP95 Optical | 1ST FLOOR SEATING AREA |  | 1ST FOOR SEATING | Seating Area | 12 | 28 | Reception Mezzanine
1 | 2 | 31 | XP95 Callpoint | 1ST FLOOR LANDING |  | STAFF KITCHEN | Landing | 7 | 28 | Reception Mezzanine | 1/2/31
1 | 2 | 32 | XP95 Optical | HIGH LEVEL BY STAIR |  | 1ST FOOR SEATING | Over Main Stair (B) | 19 | 28 | Reception Mezzanine
1 | 2 | 33 | XP95 Optical | ENTRANCE LOBBY / HIGH |  | 1ST FLOOR SEATING | Over Entrance Lobby | 19 | 28 | Reception Mezzanine
1 | 2 | 34 | XP95 Optical | FEMALE WC |  | 1ST FLOOR SEATING | Female WC | 9 | 28 | Reception Mezzanine
1 | 2 | 35 | XP95 Optical | FEMALE WC VOID |  | 1ST FLOOR SEATING | Female WC Wall Void | 19 | 28 | Reception Mezzanine
1 | 2 | 36 | XP95 Optical | LIFT SHAFT |  | RECEPTION AREA | Lift Shaft | 10 | 4 | Lift
1 | 2 | 37 | XP95 IO Unit | WCS LOBBY BY LIFT |  | RECEPTION AREA | Lobby by WCs | 12 | 28 | Reception Mezzanine
1 | 2 | 38 | XP95 Optical | MALE WC |  | 1ST FLOOR SEATING | Male WC | 7 | 28 | Reception Mezzanine
1 | 2 | 39 | XP95 Optical | MALE WC VOID |  | 1ST FLOOR SEATING | Male WC Roof Void | 17 | 28 | Reception Mezzanine
1 | 2 | 40 | XP95 Optical | 1ST FLOOR LANDING |  | 1ST FLOOR SEATING | Corridor | 8 | 28 | Reception Mezzanine
1 | 2 | 41 | XP95 Optical | 1ST FLOOR LANDING VOID |  | 1ST FLOOR SEATING | Corridor Roof Void | 18 | 28 | Reception Mezzanine
1 | 2 | 42 | XP95 Callpoint | EXIT BY STAFF LOUNGE |  | 1ST FLOOR SEATING | Lobby by WCs | 12 | 28 | Reception Mezzanine | 1/2/42
1 | 2 | 43 | XP95 Optical | LOBBY BY STAFF LOUNGE |  | 1ST FLOOR SEATING | Lobby by WCs | 12 | 28 | Reception Mezzanine
1 | 2 | 44 | XP95 Optical | LOBBY BY LOUNGE VOID |  | 1ST FLOOR SEATING | Lobby by WCs Roof Void | 22 | 28 | Reception Mezzanine
1 | 2 | 45 | XP95 Optical | STAFF LOUNGE VOID |  | 1ST FLOOR KITCHEN | Staff Room Roof Void | 20 | 28 | Reception Mezzanine
1 | 2 | 46 | XP95 Heat | STAFF LOUNGE VOID |  | 1ST FLOOR KITCHEN | Admin Staff Room | 16 | 28 | Reception Mezzanine
1 | 2 | 47 | XP95 Optical | STAFF KITCHEN VOID |  | 1ST FLOOR KITCHEN | Staff Room Roof Void | 20 | 28 | Reception Mezzanine
1 | 2 | 48 | XP95 Heat | STAFF KITCHEN |  | 1ST FLOOR KITCHEN | Admin Staff Room | 16 | 28 | Reception Mezzanine
1 | 2 | 49 | XP95 Optical | 1ST FLOOR SEATING VOID |  | 1ST FLOOR SEATING | Seating Area Roof Void | 22 | 28 | Reception Mezzanine
1 | 2 | 50 | XP95 Callpoint | STAFF KITCHEN EXIT |  | 1ST FLOOR KITCHEN | Admin Staff Room | 16 | 28 | Reception Mezzanine | 1/2/50
1 | 2 | 51 | XP95 IO Unit | CORR BY FINANCE DIRECTOR |  | 1ST FLOOR SEATING | Corridor | 8 | 27 | Finance
1 | 2 | 52 | XP95 callpoint | SERVER ROOM EXIT |  | 1ST FLR FRONT SERVER | Server Room 1 | 13 | 27 | Finance | 1/2/52
1 | 2 | 53 | XP95 IO Unit | MAIN STORES |  | 1ST FOOR SEATING | MAIN STORES |  |  | 1ST FOOR SEATING
1 | 2 | 54 | XP95 IO Unit | SERVER ROOM |  | 1ST FLR FRONT SERVER | Server Room 1 | 13 | 27 | Finance
1 | 2 | 55 | XP95 Optical | MALE WC |  | 1ST FLOOR SEATING | Male WC | 7 | 28 | Reception Mezzanine
1 | 2 | 56 | XP95 Optical | FEMALE WC |  | 1ST FLOOR SEATING | Female WC | 9 | 28 | Reception Mezzanine
1 | 2 | 57 | Discovery Sounder Beacon | FEMALE WC |  | 1ST FLOOR SEATING | Female WC | 9 | 28 | Reception Mezzanine
1 | 2 | 58 | Discovery Sounder Beacon | MALE WC |  | 1ST FLOOR SEATING | Male WC | 7 | 28 | Reception Mezzanine
1 | 2 | 59 | Discovery Sounder Beacon | SERVER ROOM |  | 1ST FLR FRONT SERVER | Server Room 1 | 13 | 27 | Finance
1 | 2 | 60 | XP95 IO Unit | SERVER ROOM |  | MEETING ROOMS 1 TO 5 | Server Room 1 | 13 | 27 | Finance
1 | 3 | 1 | XP95 Multi-sensor | ROW 1 REAR PRODUCTIOIN |  | PRODUCTION ROOF VOID | Row 1 | 5 | 35 | Rear Prod Roof Void
1 | 3 | 2 | XP95 Multi-sensor | ROW 2 REAR PRODUCTIOIN |  | PRODUCTION ROOF VOID | Row 2 | 5 | 36 | Rear Prod Roof Void
1 | 3 | 3 | XP95 Multi-sensor | ROW 1D |  | PRODUCTION ROOF VOID | Row 1D | 6 | 34 | Production Roof Void
1 | 3 | 4 | XP95 Multi-sensor | ROW 2D |  | PRODUCTION ROOF VOID | Row 2D | 6 | 34 | Production Roof Void
1 | 3 | 5 | XP95 Multi-sensor | ROW 1C |  | PRODUCTION ROOF VOID | Row 1C | 6 | 34 | Production Roof Void
1 | 3 | 6 | XP95 Multi-sensor | ROW 2C |  | PRODUCTION ROOF VOID | Row 2C | 6 | 34 | Production Roof Void
1 | 3 | 7 | XP95 Multi-sensor | ROW 1B |  | PRODUCTION ROOF VOID | Row 1B | 6 | 34 | Production Roof Void
1 | 3 | 8 | XP95 Multi-sensor | ROW 2B |  | PRODUCTION ROOF VOID | Row 2B | 6 | 34 | Production Roof Void
1 | 3 | 9 | XP95 Multi-sensor | ROW 1A |  | PRODUCTION ROOF VOID | Row 1A | 6 | 34 | Production Roof Void
1 | 3 | 10 | XP95 Multi-sensor | ROW 2A |  | PRODUCTION ROOF VOID | Row 2A | 6 | 34 | Production Roof Void
1 | 3 | 11 | XP95 Optical | PURCHASING VOID |  | 1ST PROD OFFICES | Purchasing Roof Void | 20 | 33 | Production Offices
1 | 3 | 12 | XP95 Optical | REDROSE VOID |  | 1ST PROD OFFICES | Red Rose Roof Void | 18 | 33 | Production Offices
|  | 13-18 | Missing
1 | 3 | 19 | XP95 Callpoint | SMALL DELIVERIES EXIT |  | RETURNS STORE AREA | Small Delieveries Exit | 22 | 17 | Warehouse Room 1 | 1/3/19
1 | 3 | 20 | XP95 Optical | ROW 2A |  | PRODUCTION AREA | Row 2A | 6 | 21 | Production Room
1 | 3 | 21 | XP95 Optical | ROW 2B |  | PRODUCTION AREA | Row 2B | 6 | 21 | Production Room
1 | 3 | 22 | XP95 Optical | ROW 2C |  | PRODUCTION AREA | Row 2C | 6 | 21 | Production Room
1 | 3 | 23 | XP95 Optical | LOBBY TO GOODS IN |  | RETURNS STORE AREA | LOBBY TO GOODS IN |  |  | RETURNS STORE AREA
|  | 24-27 | MIssing
1 | 3 | 28 | XP95 Callpoint | REAR SIDE EXIT |  | RAW COMPONENTS STORE | Doors to Canteen | 16 | 18 | Warehouse Room 2 | 1/3/28
1 | 3 | 29 | XP95 Optical | ROW 3C |  | PRODUCTION AREA | Row 3C | 6 | 21 | Production Room
1 | 3 | 30 | XP95 Optical | ROW 3B |  | PRODUCTION AREA | Row 3B | 6 | 21 | Production Room
1 | 3 | 31 | XP95 Optical | ROW 3A |  | PRODUCTION AREA | Row 3A | 6 | 21 | Production Room
1 | 3 | 32 | XP95 IO Unit | GOODS IN BY PRODUCTION |  | WALL VOID SEMINARS | GOODS IN BY PRODUCTION |  |  | WALL VOID SEMINARS
1 | 3 | 33 | XP95 Optical | ROW 2D |  | PRODUCTION AREA | Row 2D | 6 | 21 | Production Room
1 | 3 | 34 | XP95 Optical | ROW 2C |  | PRODUCTION AREA | Row 2C | 6 | 21 | Production Room
1 | 3 | 35 | XP95 Optical | ROW 2B |  | PRODUCTION AREA | Row 2B | 6 | 21 | Production Room
1 | 3 | 36 | XP95 Optical | ROW 2A |  | PRODUCTION AREA | Row 2A | 6 | 21 | Production Room
1 | 3 | 37 | XP95 Callpoint | EXIT BY ROLLERSHUTTER |  | RAW COMPONENTS STORE | Goods In Roller Shutter | 23 | 17 | Warehouse Room 1 | 1/3/37
1 | 3 | 38 | XP95 Optical | ENTRANCE BY ROLLER SHUTT |  | STAIRS BEHIND LIFT | Goods In | 8 | 17 | Warehouse Room 1
1 | 3 | 39 | XP95 Optical | ROW 1A |  | PRODUCTION AREA | Row 1A | 6 | 21 | Production Room
1 | 3 | 40 | XP95 Optical | ROW 1B |  | PRODUCTION AREA | Row 1B | 6 | 21 | Production Room
1 | 3 | 41 | XP95 Optical | ROW 1C |  | PRODUCTION AREA | Row 1C | 6 | 21 | Production Room
1 | 3 | 42 | XP95 Optical | ROW 1D |  | PRODUCTION AREA | Row 1D | 6 | 21 | Production Room
|  | 43-125 | Missing
1 | 3 | 126 | XP95 Sounder | REAR WALL |  | SEMINAR TRAINING | REAR WALL |  |  | SEMINAR TRAINING
ZFP APOLLO REAR SERVER-2 LOCATED IN PRODUCTION SERVER ROOM
2 | 1 | 1 | XP95 Callpoint | EXIT TO STAFF CORRIDOR |  | PRODUCTION AREA | Exit to Staff Corridor | 22 | 21 | Production Room | 2/1/01
2 | 1 | 2 | XP95 Optical | ROW 3A |  | PRODUCTION AREA | Row 3A | 6 | 21 | Production Room
2 | 1 | 3 | XP95 Optical | ROW 2B |  | PRODUCTION AREA | Row 2B | 6 | 21 | Production Room
2 | 1 | 4 | XP95 Optical | ROW 3B |  | PRODUCTION AREA | Row 3B | 6 | 21 | Production Room
2 | 1 | 5 | XP95 Callpoint | EXIT TO WAREHOUSE BAY 2 |  | PRODUCTION AREA | Shutter to Eng'ing Room | 23 | 21 | Production Room | 2/1/05
2 | 1 | 6 | Missing
2 | 1 | 7 | XP95 Optical | ROW 3C |  | PRODUCTION AREA | Row 3C | 6 | 21 | Production Room
2 | 1 | 8 | XP95 Optical | ROW 2C |  | PRODUCTION AREA | Row 2C | 6 | 21 | Production Room
2 | 1 | 9 | XP95 Callpoint | EXIT TO WAREHOUSE BAY 3 |  | PRODUCTION AREA | Door to Warehouse Rm 4 | 22 | 21 | Production Room | 2/1/09
2 | 1 | 10 | XP95 Callpoint | BAY 3 FRONT EXIT |  | PRODUCTION AREA | Door to Production Area | 22 | 28 | Warehouse Room 4 | 2/1/10
2 | 1 | 11 | XP95 Optical | ROW 2D |  | PRODUCTION AREA | Row 2D | 6 | 21 | Production Room
2 | 1 | 12 | XP95 Optical | ROW 3D |  | PRODUCTION AREA | Row 3D | 6 | 21 | Production Room
2 | 1 | 13 | XP95 Optical | ROW 2E |  | PRODUCTION AREA | Row 2E | 6 | 21 | Production Room
2 | 1 | 14 | XP95 Optical | ROW 3E |  | PRODUCTION AREA | Row 3E | 6 | 21 | Production Room
2 | 1 | 15 | XP95 Optical | CENTRE DETECTOR |  | REAR PRODUCTION AREA | Centre Detector | 15 | 22 | Rear Production Room
2 | 1 | 16 | XP95 Optical | REAR DETECTOR |  | REAR PRODUCTION AREA | Rear Detector | 13 | 22 | Rear Production Room
2 | 1 | 17 | XP95 Callpoint | REAR RIGHT EXIT |  | REAR PRODUCTION AREA | Final Exit 8 | 12 | 22 | Rear Production Room | 2/1/17
2 | 1 | 18 | XP95 Callpoint | FRONT RIGHT EXIT |  | REAR PRODUCTION AREA | Exit to Canteen | 15 | 22 | Rear Production Room | 2/1/18
2 | 1 | 19 | XP95 Optical | FRONT DETECTOR |  | REAR PRODUCTION AREA | Front Detector | 14 | 22 | Rear Production Room
2 | 1 | 20 | XP95 Callpoint | EXIT TO STORES |  | REAR PRODUCTION AREA | Door to Warehouse Rm 2 | 22 | 22 | Rear Production Room | 2/1/20
2 | 1 | 21 | XP95 Callpoint | EXIT TO REAR PRODUCTION |  | RAW COMPONENTS STORE | Door to Rear Production | 23 | 18 | Warehouse Room 2 | 2/1/21
2 | 1 | 22 | XP95 Optical | ROW 1E |  | PRODUCTION AREA | Row 1E | 6 | 21 | Production Room
2 | 1 | 23 | XP95 Callpoint | PRODUCTION TO COMP STORE |  | PRODUCTION AREA | Door to Warehouse Rm 2 | 22 | 21 | Production Room | 2/1/23
2 | 1 | 24 | XP95 Callpoint | EXIT RO PRODUCTION AREA |  | RAW COMPONENTS STORE | Door to Production Room | 23 | 18 | Warehouse Room 2 | 2/1/24
2 | 1 | 25 | XP95 Optical | ROW 1D |  | PRODUCTION AREA | Row 1D | 6 | 21 | Production Room
2 | 1 | 26 | XP95 Optical | ROW 1C |  | PRODUCTION AREA | Row 1C | 6 | 21 | Production Room
2 | 1 | 27 | XP95 Callpoint | EXIT PACKING AREA |  | GOODS IN _PACKING | Door to Warehouse Rm 1 | 22 | 21 | Production Room | 2/1/27
2 | 1 | 28 | XP95 Callpoint | EXIT TO PRODUCTION |  | GOODS IN _PACKING | Door to Production Room | 23 | 17 | Warehouse Room 1 | 2/1/28
2 | 1 | 29 | XP95 Optical | ROW 1B |  | PRODUCTION AREA | Row 1B | 6 | 21 | Production Room
2 | 1 | 30 | XP95 Optical | ROW 1A |  | PRODUCTION AREA | Row 1A | 6 | 21 | Production Room
2 | 1 | 31 | XP95 Callpoint | PRODUCTION TO PACKING RS |  | PRODUCTION AREA | Shutter to W'house Rm 1 | 23 | 21 | Production Room | 2/1/31
2 | 1 | 32 | XP95 Optical | ROW 2A |  | PRODUCTION AREA | Row 2A | 6 | 21 | Production Room
|  | 33-39 | Missing
2 | 1 | 40 | Discovery Sounder Beacon | REAR |  | PLANT ROOM GROUND FL | Rear | 4 | 21 | Production Room
2 | 1 | 41 | Discovery Sounder Beacon | CENTRE |  | PRODUCTION AREA | Centre | 6 | 21 | Production Room
2 | 1 | 42 | Discovery Sounder Beacon | FRONT |  | PRODUCTION AREA | Front | 5 | 21 | Production Room
2 | 1 | 43 | Discovery Sounder Beacon | ROW 2E |  | PRODUCTION AREA | Row 2E | 6 | 21 | Production Room
2 | 1 | 44 | Discovery Sounder Beacon | ROW 1E |  | PRODUCTION AREA | Row 1E | 6 | 21 | Production Room
2 | 1 | 45 | Discovery Sounder Beacon | ROW 3D |  | PRODUCTION AREA | Row 3D | 6 | 21 | Production Room
2 | 1 | 46 | Discovery Sounder Beacon | ROW 2C |  | PRODUCTION AREA | Row 2C | 6 | 21 | Production Room
2 | 1 | 47 | Discovery Sounder Beacon | ROW 1B |  | PRODUCTION AREA | Row 1B | 6 | 21 | Production Room
2 | 1 | 48 | Discovery Sounder Beacon | ROW 3A |  | PRODUCTION AREA | Row 3A | 6 | 21 | Production Room
2 | 1 | 49 | DIscovery Sounder Beacon | ROW 2A |  | PRODUCTION AREA | Row 2A | 6 | 21 | Production Room
|  | 50 -118 | Missing
2 | 1 | 119 | XP95 IO Unit | Tool room fire doors |  | TECHNICAL TOOL ROOM | Doors to W'house Room 5 | 23 | 26 | Engineering Room
2 | 1 | 120 | XP95 Optical | WORKSHOP STAIR GF |  | TECHNICAL TOOL ROOM | Stair H Lobby | 13 | 26 | Engineering Room
2 | 1 | 121 | Discovery Voice Sounder/Beacon | WORKSHOP STAIR GF |  | TECHNICAL TOOL ROOM | Stair H Lobby | 13 | 26 | Engineering Room
2 | 1 | 122 | XP95 Optical | WORKSHOP |  | TECHNICAL TOOL ROOM | Workshop | 8 | 26 | Engineering Room
2 | 1 | 123 | XP95 Optical | WORKSHOP |  | TECHNICAL TOOL ROOM | Workshop | 8 | 26 | Engineering Room
2 | 1 | 124 | Discovery Voice Sounder/Beacon | WORKSHOP |  | TECHNICAL TOOL ROOM | Workshop | 8 | 26 | Engineering Room
2 | 1 | 125 | XP95 Optical | WORKSHOP |  | TECHNICAL TOOL ROOM | Workshop | 8 | 26 | Engineering Room
2 | 1 | 126 | XP95 Callpoint | WORKSHOP EXIT |  | TECHNICAL TOOL ROOM | Doors to W'house Room 5 | 23 | 26 | Engineering Room | 2/1/126
2 | 2 | 1 | XP95 High temp | TEA ROOM |  | STAFF ENTRANCE STAIR | Brew Room | 9 | 33 | Production Offices
2 | 2 | 2 | XP95 Optical | REDROSE |  | 1ST PROD OFFICES | Red Rose Meeting Room | 21 | 34 | Production Offices
2 | 2 | 3 | XP95 Optical | CORRIDOR BY UNIT 1 |  | 1ST PROD OFFICES | Corridor by Unit 1 | 18 | 35 | Production Offices
2 | 2 | 4 | XP95 Optical | CORRIDOR BY PURCHASING |  | 1ST PROD OFFICES | Corridor by Technical | 21 | 36 | Production Offices
2 | 2 | 5 | XP95 Optical | PROD.MANAEGERS OFFICE |  | 1ST PROD OFFICES | Engineering Manager | 19 | 37 | Production Offices
[7 empty] | Operations Manager | 18 | 38 | Production Offices
2 | 2 | 6 | XP95 Optical | PURCHASE GENERAL OFFICE |  | 1ST PROD OFFICES | Purch'g / Eng'g Office | 21 | 39 | Production Offices
2 | 2 | 7 | XP95 Optical | CORRIDOR BY LADIES WC |  | STAFFAREA _LOCKERS | Corridor by Female WCs | 22 | 20 | Production Staff Area
2 | 2 | 8 | XP95 IO Unit | CORRIDOR BY LADIES WC |  | SEMINAR STAIRS | Corridor by Female WCs | 22 | 20 | Production Staff Area
2 | 2 | 9 | XP95 Optical | STAFF ENTRANCE CORRIDOR |  | STAFFAREA _LOCKERS | Staff Entrance Corridor | 3 | 20 | Production Staff Area
2 | 2 | 10 | XP95 Optical | GROUND FLOOR |  | STAFFAREA _LOCKERS | GROUND FLOOR |  | 20 | Production Staff Area
2 | 2 | 11 | XP95 Optical | RETURNS HOLDING AREA |  | RETURNS STORE AREA | Returns Store | 13 | 16 | Returns Area
2 | 2 | 12 | XP95 OPTICAL | LOBBY BT PROD. STAIR 1 |  | SEMINAR STAIRS | Lobby by Tech Stair (F) | 23 | 20 | Production Staff Area
2 | 2 | 13 | XP95 Optical | STORES OFFICE |  | ELECTRICITY ROOM | Logistics Manager | 17 | 16 | Returns Area
2 | 2 | 14 | XP95 IO Unit | BY COLLECTION |  | ELECTRICITY ROOM | Collections | 11 | 16 | Returns Area
2 | 2 | 15 | XP95 Optical | COLLECTION |  | ELECTRICITY ROOM | Collections | 11 | 16 | Returns Area
2 | 2 | 16 | XP95 IO Unit | COLLECTION VOID |  | ELECTRICITY ROOM | COLLECTION VOID |  | 16 | Returns Area
2 | 2 | 17 | XP95 Callpoint | COLLECTION EXIT |  | ELECTRICITY ROOM | Collections | 11 | 16 | Returns Area | 2/2/17
2 | 2 | 18 | XP95 Optical | PRODUCT RETURNS |  | RECEPTION AREA | Returns Store | 13 | 16 | Returns Area
2 | 2 | 19 | XP95 IO Unit | STAFF ENTRANCE |  | SEMINAR STAIRS | Staff Entrance | 14 | 20 | Production Staff Area
2 | 2 | 20 | XP95 Optical | FEMALE LOCKERS |  | SEMINAR STAIRS | Female Lockers 1 | 16 | 20 | Production Staff Area
2 | 2 | 21 | XP95 Optical | FEMALE LOCKERS LOBBY |  | SEMINAR STAIRS | Female Lobby | 12 | 20 | Production Staff Area
2 | 2 | 22 | XP95 Callpoint | STAFF ENTRANCE EXIT |  | SEMINAR STAIRS | Staff Entrance | 14 | 20 | Production Staff Area | 2/2/22
2 | 2 | 23 | Discovery Sounder Beacon | FEMALE WC'S |  | SEMINAR STAIRS | Female WCs | 10 | 20 | Production Staff Area
2 | 2 | 24 | XP95 Optical | FEMALE WC'S |  | SEMINAR STAIRS | FemaleWCs | 10 | 20 | Production Staff Area
2 | 2 | 25 | Discovery Sounder Beacon | DISABLED WC |  | SEMINAR STAIRS | Accessible WC | 13 | 20 | Production Staff Area
2 | 2 | 26 | XP95 Optical | MALE DISABLED WC |  | SEMINAR STAIRS | Accessible WC | 13 | 20 | Production Staff Area
2 | 2 | 27 | Discovery Sounder Beacon | MALE WC |  | SEMINAR STAIRS | Male WC | 7 | 20 | Production Staff Area
2 | 2 | 28 | XP95 Optical | MALE WC |  | SEMINAR STAIRS | Male WC | 7 | 20 | Production Staff Area
2 | 2 | 29 | XP95 Heat | STAFF DINING ROOM |  | UTILITY ROOM | Production Staff Room | 21 | 20 | Production Staff Area
2 | 2 | 30 | XP95 Optical | GROUND FLOOR |  | KITCHEN MEET ROMS | Production Staff Room | 21 | 20 | Production Staff Area
2 | 2 | 31 | XP95 Optical | RUSS OFFICE |  | WALL COID MEETINGS | Maintenance Manager | 19 | 25 | Warehouse Room 6
2 | 2 | 32 | XP95 Callpoint | EXIT CORR BY TOOL SHED |  | SEMINAR STAIRS | Prod'n Escape Corridor | 22 | 20 | Production Staff Area | 2/2/32
2 | 2 | 33 | XP95 Optical | CORRIDOR BY TOOL SHED |  | SEMINAR STAIRS | Prod'n Escape Corridor | 22 | 20 | Production Staff Area
2 | 2 | 34 | XP95 IO Unit | CORRIDOR BY TOOL SHED |  | SEMINAR STAIRS | Prod'n Escape Corridor | 22 | 20 | Production Staff Area
2 | 2 | 35 | XP95 IO Unit | CORRIDOR BY TOOL SHED |  | SEMINAR STAIRS | Prod'n Escape Corridor | 22 | 20 | Production Staff Area
2 | 2 | 36 | XP95 Optical | CORRIDOR BY TOOL SHED |  | SEMINAR STAIRS | Prod'n Escape Corridor | 22 | 20 | Production Staff Area
2 | 2 | 37 | XP95 Heat | STAFF DINING ROOM |  | UTILITY ROOM | Production Staff Room | 21 | 20 | Production Staff Area
2 | 2 | 38 | XP95 Optical | CORRIDOR BY STAFF DINING |  | SEMINAR STAIRS | Corridor by Staff Room | 21 | 20 | Production Staff Area
2 | 2 | 39 | XP95 Optical | CORRIDOR BY MALE WC'S |  | SEMINAR STAIRS | Corridor by Male WCs | 21 | 20 | Production Staff Area
2 | 2 | 40 | XP95 Optical | MALE LOCKERS |  | SEMINAR STAIRS | Male Lockers 1 | 21 | 20 | Production Staff Area
2 | 2 | 41 | XP95 Optical | CORRIDOR BY PRODUCITON |  | SEMINAR STAIRS | Corridor by Production | 22 | 20 | Production Staff Area
2 | 2 | 42 | XP95 Callpoint | EXIT BY TECHNICAL |  | RETURNS DEPARTMENT | Lobby by Technical | 19 | 33 | Production Offices | 2/2/42
2 | 2 | 43 | XP95 Optical | LANDING VOID |  | MEETING ROOMS 1-5 | Lobby by Tech Roof Void | 23 | 33 | Production Offices
2 | 2 | 44 | XP95 Optical | 1ST FLOOR LANDING |  | MEETING ROOMS 1-5 | Landing | 7 | 19 | Stair F (Technical)
2 | 2 | 45 | XP95 Optical | TRAINING RM BY TECHNICAL |  | RETURNS DEPARTMENT | Technical Demo Room | 19 | 33 | Production Offices
2 | 2 | 46 | XP95 Optical | TRAINING ROOM VOID |  | RETURNS DEPARTMENT | Tech Demo Roof Void | 19 | 33 | Production Offices
2 | 2 | 47 | XP95 Optical | CORRIDOR BY TECHNICAL |  | RETURNS DEPARTMENT | Lobby by Technical | 18 | 33 | Production Offices
2 | 2 | 48 | XP95 Optical | TECHNICAL (a) |  | RETURNS DEPARTMENT | Technical A | 11 | 33 | Production Offices
2 | 2 | 49 | XP95 Optical | TECHNICAL VOID |  | RETURNS DEPARTMENT | Technical Roof Void | 19 | 33 | Production Offices
2 | 2 | 50 | XP95 Optical | TECHNICAL (b) |  | RETURNS DEPARTMENT | Technical B | 11 | 33 | Production Offices
2 | 2 | 51 | XP95 Optical | PURCHASE GENERAL OFFICE |  | RETURNS DEPARTMENT | Purch'g / Eng'g Office | 21 | 33 | Production Offices
2 | 2 | 52 | XP95 Optical | PURCHASING OFFICE |  | RETURNS DEPARTMENT | Purch'g / Eng'g Office | 21 | 33 | Production Offices
2 | 2 | 53 | XP95 Optical | UNIT 1 |  | RETURNS DEPARTMENT | Unit 1 Meeting Room | 19 | 33 | Production Offices
2 | 2 | 54 | XP95 Optical | 1ST FLOOR LANDING |  | KITCHEN MEET ROMS | Landing | 7 | 23 | Stair G (Purchasing)
2 | 2 | 55 | Discovery Sounder Beacon | STORE BY SERVER 2 |  | RETURNS STORE AREA | Store by Server Room 2 | 22 | 33 | Production Offices
2 | 2 | 56 | XP95 Optical | STORE BY SERVER 2 |  | RETURNS STORE AREA | Store by Server Room 2 | 22 | 33 | Production Offices
2 | 2 | 57 | XP95 Callpoint | EXIT BY SERVER RM 2 |  | RETURNS DEPARTMENT | Corridor by Server Rm 2 | 23 | 33 | Production Offices | 2/2/57
2 | 2 | 58 | XP95 Optical | CORRIDOR BY SERVER 2 |  | RETURNS DEPARTMENT | Corridor by server Rm 2 | 23 | 33 | Production Offices
2 | 2 | 59 | Discovery Sounder Beacon | SERVER ROOM 2 |  | RETURNS DEPARTMENT | Server Room 2 | 13 | 33 | Production Offices
2 | 2 | 60 | XP95 Optical | SERVER ROOM 2 |  | RETURNS DEPARTMENT | Server Room 2 | 13 | 33 | Production Offices
2 | 2 | 61 | XP95 Optical | VOID BY TECHNICAL |  | RETURNS DEPARTMENT | VOID BY TECHNICAL |  | 33 | Production Offices
2 | 2 | 62 | XP95 IO Unit | SERVER ROOM 2 |  | RETURNS DEPARTMENT | Server Room 2 | 13 | 33 | Production Offices
2 | 2 | 63 | XP95 IO Unit | SERVER ROOM 2 |  | RETURNS DEPARTMENT | Server Room 3 | 13 | 33 | Production Offices
2 | 2 | 64 | XP95 IO Unit | SERVER ROOM 2 |  | RETURNS DEPARTMENT | Server Room 4 | 13 | 33 | Production Offices
2 | 2 | 65 | XP95 Optical | UNIT 1 OFFICE VOID |  | RETURNS DEPARTMENT | Unit 1 Roof Void | 16 | 33 | Production Offices
2 | 2 | 66 | XP95 Callpoint | EXIT BY TOOL SHED |  | SEMINAR STAIRS | Door to Warehouse Rm 6 | 22 | 20 | Production Staff Area | 2/2/66
2 | 2 | 67 | XP95 Optical | CUPBOARD BY SERVER 2 |  | RETURNS DEPARTMENT | Cleaners' Cupboard 2 | 20 | 23 | Stair G (Purchasing)
2 | 2 | 68 | XP95 IO Unit | RUSS OFFICE |  | WALL VOID MEETINGS | Maintenance Manager | 19 | 25 | Warehouse Room 6
2 | 2 | 69 | XP95 Optical | SMALL DELIVIERIES |  | STAIRS BEHIND LIFT | Small Delivieries | 17 | 17 | Warehouse Room 1
|  | 70 | Missing
2 | 2 | 71 | Discovery Sounder Beacon | RUSS OFFICE LOBBY |  | WALL VOID MEETINGS | Lobby to W'house Room 6 | 23 | 25 | Warehouse Room 6
2 | 2 | 72 | XP95 Optical | RUSS OFFICE LOBBY |  | WALL VOID MEETINGS | Lobby to W'house Room 6 | 23 | 25 | Warehouse Room 6
|  | 73-80 | Missing
2 | 2 | 81 | Discovery Sounder Beacon | STAFF DINING |  | UTILITY ROOM | Production Staff Room | 21 | 20 | Production Staff Area
2 | 2 | 82 | Discovery Sounder Beacon | CORRIDOR BY STAF DINING |  | SEMINAR STAIRS | Corridor by Staff Room | 22 | 20 | Production Staff Area
2 | 2 | 83 | Discovery Sounder Beacon | CORRIDOR BY FEMALE WC'S |  | SEMINAR STAIRS | Corridor by Female WCs | 22 | 20 | Production Staff Area
2 | 2 | 84 | Discovery Sounder Beacon | MALE LOCKERS |  | SEMINAR STAIRS | Male Lockers 1 | 14 | 20 | Production Staff Area
2 | 2 | 85 | Discovery Sounder Beacon | FEMALE LOCKERS |  | SEMINAR STAIRS | Female Lockers 1 | 16 | 20 | Production Staff Area
2 | 2 | 86 | Discovery Sounder Beacon | GROUND FLOOR |  | MEETING ROOMS 1 TO 5 | GROUND FLOOR |  | 20 | Production Staff Area
2 | 2 | 87 | Discovery Sounder Beacon | RETURNS HOLDING AREA |  | ELECTRICITY ROOM | Returns Store | 12 | 16 | Returns Area
2 | 2 | 88 | Discovery Sounder Beacon | STORES OFFICE |  | ELECTRICITY ROOM | Logistics Manager | 17 | 16 | Returns Area
2 | 2 | 89 | Discovery Sounder Beacon | PRODUCT RETURNS |  | RECEPTION AREA | Returns Department | 18 | 16 | Returns Area
2 | 2 | 90 | Discovery Sounder Beacon | GROUND FLOOR |  | KITCHEN MEET ROMS | GROUND FLOOR |  | 20 | Production Staff Area
2 | 2 | 91 | Discovery Sounder Beacon | CORRIDOR BY TOOL SHED |  | SEMINAR STAIRS | Prod'n Escape Corridor | 22 | 20 | Production Staff Area
2 | 2 | 92 | Discovery Sounder Beacon | RUSS OFFICE |  | WALL VOID MEETINGS | Maintenance Manager | 19 | 25 | Warehouse Room 6
2 | 2 | 93 | Discovery Sounder Beacon | TECHNICAL |  | RETURNS DEPARTMENT | Technical Support | 17 | 33 | Production Offices
2 | 2 | 94 | Discovery Sounder Beacon | GENERAL PURCHASING |  | RETURNS DEPARTMENT | Purch'g / Eng'g Office | 21 | 33 | Production Offices
2 | 2 | 95 | Discovery Sounder Beacon | GENERAL PURCHASING |  | RETURNS DEPARTMENT | Purch'g / Eng'g Office | 21 | 33 | Production Offices
2 | 2 | 96 | Discovery Sounder Beacon | CORRIDOR BY REDROSE |  | RETURNS DEPARTMENT | Corridor by Red Rose | 20 | 33 | Production Offices
2 | 2 | 97 | Discovery Sounder Beacon | OFFICE ADJ TECH/WORKS |  | RETURNS DEPARTMENT | Technical Demo Room | 19 | 33 | Production Offices
2 | 2 | 98 | Discovery Sounder Beacon | CORRIDOR BY SERVER 2 |  | RETURNS DEPARTMENT | Corridor by Server Rm 2 | 23 | 33 | Production Offices
|  | 99 | Missing
2 | 2 | 100 | XP95 Callpoint | DRIVERS CABIN FIRE EXIT |  | DRIVERS CABIN | Exit | 4 | 24 | Drivers' Cabin |  | 2/2/100
2 | 2 | 101 | XP95 Optical | DRIVERS CABIN LOBBY |  | DRIVERS CABIN | Lobby | 5 | 24 | Drivers' Cabin
2 | 2 | 102 | Discovery Sounder Beacon | DRIVERS CABIN WAITING |  | DRIVERS CABIN | Waiting | 7 | 24 | Drivers' Cabin
2 | 2 | 103 | XP95 Optical | DRIVERS CABIN WAITING |  | DRIVERS CABIN | Waiting | 7 | 24 | Drivers' Cabin
|  | 104-125 | Missing
2 | 2 | 126 | XP95 Optical | UNDER STAIRS STORE |  | MEETING ROOMS 1 TO 5 | Cleaners' Cupboard 1 | 20 | 19 | Stair F (Techncial)
2 | 3 | 1 | XP95 Multi-sensor | BAY 1 ROW 1A |  | BAY 1 WAREHOUSE | Row 1A |  | 25 | Warehouse Room 6
2 | 3 | 2 | XP95 Multi-sensor | BAY 1 ROW 1B |  | BAY 1 WAREHOUSE | Row 1B |  | 25 | Warehouse Room 6
2 | 3 | 3 | XP95 Multi-sensor | BAY 1 ROW 1C |  | BAY 1 WAREHOUSE | Row 1C |  | 25 | Warehouse Room 6
2 | 3 | 4 | XP95 Multi-sensor | BAY 2 ROW 1A |  | BAY 2 WAREHOUSE | Row 1A |  | 27 | Warehouse Room 5
2 | 3 | 5 | XP95 Multi-sensor | BAY 2 ROW 1B |  | BAY 2 WAREHOUSE | Row 1B |  | 27 | Warehouse Room 5
2 | 3 | 6 | XP95 Multi-sensor | BAY 3 ROW 1A |  | BAY 4 WAREHOUSE | Row 1A |  | 28 | Warehouse Room 4
2 | 3 | 7 | XP95 Multi-sensor | BAY 3 ROW 1B |  | BAY 4 WAREHOUSE | Row 1B |  | 28 | Warehouse Room 4
2 | 3 | 8 | XP95 Multi-sensor | BAY 4 ROW 1A |  | BAY 4 WAREHOUSE | Row 1A |  | 29 | Warehouse Room 3
2 | 3 | 9 | XP95 Multi-sensor | BAY 4 ROW 1B |  | BAY 4 WAREHOUSE | Row 1B |  | 29 | Warehouse Room 3
2 | 3 | 10 | XP95 Callpoint | BAY 4 FRONT EXIT |  | BAY 4 WAREHOUSE | Final Exit 9 |  | 29 | Warehouse Room 3 | 2/3/10
2 | 3 | 11 | XP95 Callpoint | BAY 4 REAR EXIT |  | BAY 4 WAREHOUSE | Final Exit 10 |  | 29 | Warehouse Room 3 | 2/3/11
2 | 3 | 12 | XP95 Callpoint | BAY 3 EAR EXIT |  | BAY 3 WAREHOUSE | Final Exit 11 |  | 28 | Warehouse Room 4 | 2/3/12
2 | 3 | 13 | XP95 Callpoint | BAY 3 REAR EXIT |  | BAY 2 WAREHOUSE | Final Exit 12 |  | 28 | Warehouse Room 4 | 2/3/13
2 | 3 | 14 | XP95 Callpoint | BAY 1 REAR EXIT |  | BAY 1 WAREHOUSE | Final Exit 13 |  | 25 | Warehouse Room 6 | 2/3/14
2 | 3 | 15 | XP95 Multi-sensor | BAY 1 ROW 3A |  | BAY 1 WAREHOUSE | Row 3A |  | 25 | Warehouse Room 6
2 | 3 | 16 | XP95 Multi-sensor | BAY 1 ROW 3B |  | BAY 1 WAREHOUSE | Row 3B |  | 25 | Warehouse Room 6
2 | 3 | 17 | XP95 Multi-sensor | BAY 1 ROW 3C |  | BAY 1 WAREHOUSE | Row 3C |  | 25 | Warehouse Room 6
2 | 3 | 18 | XP95 Multi-sensor | BAY 2 ROW 3A |  | BAY 2 WAREHOUSE | Row 3A |  | 25 | Warehouse Room 5
2 | 3 | 19 | XP95 Multi-sensor | BAY 2 ROW 3B |  | BAY 2 WAREHOUSE | Row 3B |  | 25 | Warehouse Room 5
2 | 3 | 20 | XP95 Multi-sensor | BAY 3 ROW 3A |  | BAY 4 WAREHOUSE | Row 3A |  | 28 | Warehouse Room 4
2 | 3 | 21 | XP95 Multi-sensor | BAY 3 ROW 3B |  | BAY 4 WAREHOUSE | Row 3B |  | 28 | Warehouse Room 4
2 | 3 | 22 | XP95 Multi-sensor | BAY 4 ROW 3A |  | BAY 4 WAREHOUSE | Row 3A |  | 29 | Warehouse Room 3
2 | 3 | 23 | XP95 Multi-sensor | BAY 4 ROW 3B |  | BAY 4 WAREHOUSE | Row 3B |  | 29 | Warehouse Room 3
2 | 3 | 24 | XP95 Multi-sensor | BAY 4 ROW 2B |  | BAY 4 WAREHOUSE | Row 2B |  | 29 | Warehouse Room 3
2 | 3 | 25 | XP95 Multi-sensor | BAY4 ROW 2A |  | BAY 4 WAREHOUSE | Row 2A |  | 29 | Warehouse Room 3
2 | 3 | 26 | XP95 Multi-sensor | BAY 3 ROW 2B |  | BAY 4 WAREHOUSE | Row 2B |  | 28 | Warehouse Room 4
2 | 3 | 27 | XP95 Multi-sensor | BAY 3 ROW 2A |  | BAY 4 WAREHOUSE | Row 2A |  | 28 | Warehouse Room 4
2 | 3 | 28 | XP95 Multi-sensor | BAY 2 ROW 2B |  | BAY 2 WAREHOUSE | Row 2B |  | 27 | Warehouse Room 5
2 | 3 | 29 | XP95 Multi-sensor | BAY 2 ROW 2A |  | BAY 2 WAREHOUSE | Row 2A |  | 27 | Warehouse Room 5
2 | 3 | 30 | XP95 Multi-sensor | BAY 1 ROW 2C |  | BAY 1 WAREHOUSE | Row 2C |  | 25 | Warehouse Room 6
2 | 3 | 31 | XP95 Multi-sensor | BAY 1 ROW 2B |  | BAY 1 WAREHOUSE | Row 2B |  | 25 | Warehouse Room 6
2 | 3 | 32 | XP95 Multi-sensor | BAY 1 ROW 2A |  | BAY 1 WAREHOUSE | Row 2A |  | 25 | Warehouse Room 6
2 | 3 | 33 | Discovery Callpoint | BAY 1 SHUTTER 2 EXIT |  | BAY 1 WAREHOUSE | Shutter 3 |  | 25 | Warehouse Room 6 | 2/2/34
2 | 3 | 34 | XP95 Callpoint | BAY 1 SHUTTER 1 EXIT |  | BAY 1 WAREHOUSE | Shutter 2 |  | 25 | Warehouse Room 6 | 2/2/35
2 | 3 | 35 | Discovery Sounder Beacon | BAY 2 REAR WALL |  | PRODUCTION AREA | Rear Wall |  | 27 | Warehouse Room 5
2 | 3 | 36 | XP95 Optical | COMPACTOR |  | BAY 1 WAREHOUSE | Compactor |  | 24 | Warehouse Room 6
XFP CAST FRONT SERVER -1 LOCATED IN HR/EXPORT SERVER ROOM
X | 1 | 1 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 2 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 3 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 4 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 5 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 6 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 7 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 8 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 9 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 10 | Sndr/VAD | No name allocated |  | group-1 | No name allocated |  |  | group-1
X | 1 | 11 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 12 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 13 | MCP | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 14-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 14-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 14-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 14-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 15 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 16-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 16-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 16-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 16-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 17 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 18 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 19 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 20 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 21 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 22 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 23-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 23-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 23-2 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 23-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 24 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 25 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 26 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 27 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 28 | MCP | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 29-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 29-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X |  | 29-2 |  |  |  | Not used |  |  |  | Not used
X |  | 29-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 30 | Multi | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 31 | Multi | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X
X | 1 | 32-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 32-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 32-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 32-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 33-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 33-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 33-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 33-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 34-1 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 34-2 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 34-3 |  |  |  | Not used |  |  |  | Not used
X | 1 | 34-3 |  |  |  | Not Used |  |  |  | Not Used
X
X | 1 | 35 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 36 | MCP | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 37 | MCP | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 38-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 38-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 38-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 38-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 39-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 39-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 39-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 39-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 40 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 41 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 42 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 43 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 44 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 45 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 46 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 47 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 48 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 49 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 50 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 51 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 52 | Multi | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 53-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 53-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 53-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 53-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 54-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 54-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 54-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 54-3 |  |  |  | Not Used |  |  |  | Not Used
X
X | 1 | 55 | MCP | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 56-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 56-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 56-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 56-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 57 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 58 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 59-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 59-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 59-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 59-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 60 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 61 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 62 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 63 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 64 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 65 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 66 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 67 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 68 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 69 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 70 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 71-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 71-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 71-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 71-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 72 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 73 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 74 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 75 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 76 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 77-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 77-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 77-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 77-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 78 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 79 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 80 | Sndr/VAD | No name allocated |  | Group 1 | No name allocated |  |  | Group 1
X | 1 | 81 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 82 | Optical | No name allocated |  | Zone 1 GROUND FLOOR | No name allocated |  |  | Zone 1 GROUND FLOOR
X | 1 | 83-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 83-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 83-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 83-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 84 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 85 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 86 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 87-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 87-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 87-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 87-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 88 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 89 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 90 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 91 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 92 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 93 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 94 | MCP | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 95 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 96 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 97 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 98-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 98-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 98-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 98-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 99 | Heat | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 100 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 101-0 | I/O Unit | No name allocated |  |  | No name allocated
X | 1 | 101-1 |  | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 101-2 |  |  |  | Not used |  |  |  | Not used
X | 1 | 101-3 |  |  |  | Not Used |  |  |  | Not Used
X | 1 | 102 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X |  | 103 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 104 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 105 | Optical | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 1 | 106 | Not Fitted | No name allocated |  | Use in Special C&E | No name allocated |  |  | Use in Special C&E
X |  | TO
X | 1 | 255 | Not Fitted | No name allocated |  | Use in Special C&E | No name allocated |  |  | Use in Special C&E
X | 2 | 1 | Not Fitted | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
X | 2 | TO
X | 2 | 255 | Not Fitted | No name allocated |  | Zone 1 - GROUND FLOOR | No name allocated |  |  | Zone 1 - GROUND FLOOR
XFP ZONE CONFIGURATION
| Zone 1 |  | GROUND FLOOR
| Zone 2 |  | FIRST FLOOR
| Zone 3 |  | STAIRCASE
| Zone 4 |  | SWITCH ROOM