Making a new set of ‘default’ .csv files for a ZFP

- Load an appropriate .zfp file from your library of .zfp production files

- Make necessary changes to the System Devices etc.

- Save in a <new folder> with a new filename appropriate to the panel type

  - This is now the .zfp config file specific to this panel type

- Make a new folder <Default> in <new folder>

- Save with filename ‘d’ into this <Default> folder

- AT THIS POINT A PANEL MUST BE CONNECTED

- Select Send To Panel (any code can be entered)

- Select Edit

- Select Save ASCII

- Enter ‘d’ as filename

- In the new <Default> folder, delete the following files

  - d(1).Logo.csv

  - d(1).Complete Checksum.csv

  - d(1).WHORU.csv

  - d.txt

  - d.zfp

Now there is a new set of <defaults> for the new panel type which should be stored on the SD card in the <defaults> folder. The files present should be :-